## Sheet1
Outside
Time
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
MUA-1 | on/off
Set Point
Acctual Temp
HEX | From DES SWT
To DES RWT
HEX_1_RWT
HEX_1_SWT
P1 on/off/amps
P2 on/off/amps
CV 9 /CV1 on/off
HP | HP Source_RWT
HP1 Stage1 on/off
HP1 Stage2 on/off
Heat/cool
Status Amps
HP2 stage1 on/off
HP2 Stage2 on/off
Heat/cool
Status Amps
P3 on/off/amps
P4 on/off/amps
HP_load_SWT
HP_DHWST
HP_DHWRT
CV#10 on/off
Hp load RWT
Boiler 1 | BLR 1 on/off
CV-4 on /off
P5 amps
P6 amps
gauges | PSI on unit
PSI DHW Production
PSI Boiler Supply
Boiler 2 | BLR 2 on/off
P12 amps
P13 amps
BLR_DHW_SWT
gauges | PSI on unit
PSI DHW Production
PSI Boiler Supply

## Sheet2
Outside
Time
| Date | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
MUA-1 | on/off
Set Point
Acctual Temp
HEX | From DES SWT
To DES RWT
HEX_1_RWT
HEX_1_SWT
P1 on/off/amp
P2 on/off/amp
CV 9 /CV1 on/off
HP | HP SourceRWT
HP1 Stage1 on/off
HP1 Stage2 on/off
Heat/cool
Status Amps
HP2 stage1 on/off
HP2 Stage2 on/off
Heat/cool
Status Amps
P3 on/off/amps
P4 on/off/amps
HP_load_SWT
HP_DHWST
HP_DHWRT
CV#10 on/off
HP.load RWT
Boiler 1 | BLR 1 on/off
CV-4 on /off
P5 amps
P6 amps
gauges | PSI on unit
PSI DHW Production
PSI Boiler Supply
Boiler 2 | BLR 2 on/off
P12 amps
P13 amps
BLR_DHW_SWT
gauges | PSI on unit
PSI DHW Production
PSI Boiler Supply

## Sheet3
Outside
Time
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
DHW | CV-2 on/off
DHWT_SWT
DHWT_RWT
CV-3 on/off
DHW_BLR_RWT
DHW_SWT
P8 on/off
DHWT3456SWT
ServerRM
HP#1 | DESopen/close
HP#2 | DESopen/close
SA set point
actual
RAD | SLAB 1 temp
SLAB 2 temp
SLAB 3 temp
crawl sp/act
ZONE 1 | CV-8%
P11 on/off Amps
RADZ1 SWT sp/ act.
RADZ1_RWT
CV12 %
ZONE 2 | CV-7%
P10 on/off PSI
RADZ2 SWT sp/ act.
RADZ2_RWT
ZONE 3 | CV-6%
P9 on/off AmpsPSI
RADZ3 SWT sp/ act.
RADZ3_RWT

## Sheet4
Outside
Time
| Date | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
DHW CV-2 on/off
DHWT_SWT
DHWT_RWT
CV-3 on/off
DHW_BLR_RWT
DHW_SWT
P8 on/off
DHWT3456SWT
ServerRM
HP#1 | DESopen/close
HP#2 | DESopen/close
SA set point
actual
RAD SLAB 1 temp
SLAB 2 temp
SLAB 3 temp
crawl sp/act
ZONE 1 | CV-8%
P11 on/off Amps
RADZ1 SWT sp/ act.
RADZ1_RWT
CV12 %
ZONE 2 | CV-7%
P10 on/off PSI
RADZ2 SWT sp/ act.
RADZ2_RWT
ZONE 3 | CV-6%
P9 on/off AmpsPSI
RADZ3 SWT sp/ act.
RADZ3_RWT

## Sheet5
Outside
Time
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
HRV1 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
2 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
3 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
4 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
5 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
6 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
7 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual

## Sheet6
Outside
Time
| Date | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
HRV1 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
2 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
3 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
4 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
5 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
6 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
7 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual

## Sheet7
Outside
Time
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
HRV8 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
9 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
10 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
11 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
LV4 | CORR#1 RT
CORR#2RT
CORR AVG
LV3 | CORR#1 RT
CORR#2RT
CORR AVG
LV2 | CORR#1 RT
CORR#2RT
CORR AVG
LV1 | CORR#1 RT
CORR#2RT
CORR AVG

## Sheet8
Outside
Time
| Date | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
HRV8 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
9 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
10 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
11 | on/off amps
EDH on/off
SA temp
RA temp
set point
Actual
LV4 | CORR#1 RT
CORR#2RT
CORR AVG
LV3 | CORR#1 RT
CORR#2RT
CORR AVG
LV2 | CORR#1 RT
CORR#2RT
CORR AVG
LV1 | CORR#1 RT
CORR#2RT
CORR AVG

## Sheet9
Outside
Time
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
FROM GAUGES
DCW Supply PSI
Inlet
Outlet
Make up water PSI
Make up meter
Irrigation PSI
DES PSI @ HEX IN
DES PSI @ HEX OUT
HEAT PUMP #1
Source out PSI
Source in PSI
Load in PSI
Load out (by p3&4)
HEAT PUMP #2
Source out PSI
Source in PSI
Load in PSI
Load out (by p3&4)
DES source side HHWS Pump 1
Upstream Strainer
downstream strainer
downstream pump
DES source side HHWS Pump 2
Upstream Strainer
downstream strainer
downstream pump
Building loadside pump 3
Upstream Strainer
downstream strainer
downstream pump
Building loadside pump 4
Upstream Strainer
downstream strainer
downstream pump
Chemical Read

## Sheet10
Outside
Time
| Date | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
FROM GAUGES
DCW Supply PSI
Inlet
Outlet
Make up water PSI
Make up meter
Irrigation PSI
DES PSI @ HEX IN
DES PSI @ HEX OUT
HEAT PUMP #1
Source out PSI
Source in PSI
Load in PSI
Load out
HEAT PUMP #2
Source out PSI
Source in PSI
Load in PSI
Load out
DES source side HHWS Pump 1
Upstream Strainer
downstream strainer
downstream pump
DES source side HHWS Pump 2
Upstream Strainer
downstream strainer
downstream pump
Building loadside pump 3
Upstream Strainer
downstream strainer
downstream pump
Building loadside pump 4
Upstream Strainer
downstream strainer
downstream pump